## Daily (visual) safety checks
Periodic workplace inspections Outstations only
Version 4.0
Premises
Premises Manager
See ACTION PLAN for person(s) responsible for arranging any remedial works identified
Any areas which are not relevant to the property being inspected should be removed/deleted |  | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday
DAILY visual checks - responsibility of PREMISES MANAGER |  | Yes/No | Yes/No | Yes/No | Yes/No | Yes/No | Yes/No | Yes/No
Escape routes | Can all fire exits be opened immediately and easily?
Are all internal fire doors kept closed and clear of obstructions? (excluding automatic closing fire doors)
Are all escape routes clear of obstructions/combustible materials?
Fire fighting equipment | Is the fire alarm indicator panel (and any repeater panels) showing that the system is operating correctly'?
Are whistles, gongs, or air horns (where applicable) in place?
Escape lighting | Are emergency lighting and exit signs in apparent good condition and undamaged?
Emergency lighting (including hand-held torches) and sign lighting working correctly?
Fire fighting equipment | Are fire extinguishers clearly visible, easily accessible and in their designated place?
Are all fire extinguishers free from evidence of tampering?
If there are any fire hoses on site are they free from obstructions and free from obvious signs of damage?
Walkways, including external walkways and entrances/exits | Are accessible and free from slip/trip hazards including snow/ice/fallen leaves
Visual inspection conducted by:
Date visual inspection conducted
Any comment or remedial action required (i.e. where a NO has been recorded) should be noted in the ACTION PLAN identifying whom has responsibility for completing the action and when the action should be completed by
.

## Weekly Safety Checks
Periodic workplace inspections Outstations only
Version 4.0
Premises
Premises Manager
See ACTION PLAN for person(s) responsible for arranging any remedial works identified
Any areas which are not relevant to the property being inspected should be removed/deleted |  | Wk 1 | Wk 2 | Wk 3 | Wk 4 | Wk 5
WEEKLY checks - to be recorded and retained in the relevant PREMISES LOG BOOK |  | Yes/ No | Yes/ No | Yes/ No | Yes/ No | Yes/ No
Visual checks | Have each of daily visual fire checks been conducted for the preceding week?
Housekeeping | Is waste being removed regularly from inside the building?
Are boiler and/or electrical housings free from combustible storage?
Is waste outside the building stored safely?
Ventilation | Is ventilation (fresh air) adequate in all rooms, or time spent in there restricted?
Escape routes | Do all emergency fastening devices to fire exit doors (push bars/pads etc) work correctly?
Are all external routes clear and safe?
If there is designated external access for the fire service is it unobstructed?
Fire fighting equipment | Does all fire fighting equipment appear to be in good condition? * Does the manual call point send a signal to the indicator panel? * Alarm system working correctly? * Staff and other people could hear the fire alarm? * Linked fire protection (i.e. magnetic door holders) systems operated correctly? * Do visual alarms and/or vibrating alarms and pagers work? * Do voice alarm systems work correctly and was the message understood?
Escape lighting | Are charging indicators visible?
Water systems | Have infrequently used water systems been flushed to drain for 7 minutes, without creating spray (use plastic bag or bucket), in the preceding 7 days
Please specify any additional items arising from relevant risk assessments and/or manufacturers recommendations to be checked (i.e. fire; water etc)
Visual inspection conducted by:
Date inspection conducted
Any comment or remedial action required (i.e. where a NO has been recorded) should be noted in the ACTION PLAN identifying whom has responsibility for completing the action and when the action should be completed by

## Monthly checks
Periodic workplace inspections Outstations only
Version 4.0
Premises
Premises Manager
See ACTION PLAN for person(s) responsible for arranging any remedial works identified
Any areas which are not relevant to the property being inspected should be removed/deleted |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sept | Oct | Nov | Dec
MONTHLY checks - to be recorded and retained in the relevant PREMISES LOG BOOK |  | Yes/ No | Yes/ No | Yes/ No | Yes/ No | Yes/ No | Yes/ No | Yes/ No | Yes/ No | Yes/ No | Yes/ No | Yes/ No | Yes/ No
Escape routes | Do all electronic release mechanism indicators show the system is operating correctly?
Are all fire doors and smoke/heat seals in good condition?
If roller shutters are provided for fire compartmentation do they work correctly?
If external escape stairs are provided do they appear safe?
Escape lighting | Have all emergency generators been tested (run for approx one hour)?
Fire fighting equipment | Is the pressure in 'stored pressure' fire extinguishers correct?
Please specify are any additional items arising from relevant risk assessments and/or manufacturers recommendations to be checked
Visual inspection conducted by:
Date inspection conducted
Any comment or remedial action required (i.e. where a NO has been recorded) should be noted in the ACTION PLAN identifying whom has responsibility for completing the action and when the action should be completed by

## 3 Monthly (Quarterly) WPI's
Periodic workplace inspections Outstations only
Version 4.0
Premises
Premises Manager
See ACTION PLAN for person(s) responsible for arranging any remedial works identified
Any areas which are not relevant to the property being inspected should be removed/deleted |  | Q1 Apr-Jun | Q2 Jul-Sept | Q3 Oct-Dec | Q4 Jan-Mar
3-MONTHLY (Quarterly)Workplace Inspections - to be recorded and retained in relevant PREMISES LOG BOOK |  | Yes/ No | Yes/ No | Yes/ No | Yes/ No
Environment and welfare | Are the premises kept clean and tidy?
Are sanitary conveniences and washing facilities kept clean?
Are all floors and floor coverings even and safe?
Are floors, ceilings and walls kept clean?
Are all work areas free of any trip hazards?
Is the lighting adequate for the tasks being conducted?
Is lighting on stairways, corridors and external areas etc sufficient to enable ease of/safe movement?
Is the temperature of indoor workplaces reasonable for the majority of the staff?
Are thermometers displayed?
Is the humidity and ventilation adequate?
Is the workplace free from uncomfortable draughts that affect work activities?
Are all hazardous substances stored safely?
If there are asbestos containing materials on-site are they appropriately indicated by signs and free from obvious damage?
Are traffic routes of sufficient width and headroom, to allow pedestrians and wheelchair users or vehicles to circulate safely and without difficulty?
Is all free-standing furniture properly secured and poses no risk of falling/toppling?
Are furnishings/fittings fit for purpose, clean and in good repair?
Is there any evidence of mould within the premises?
Where window restrictors are fitted they are free from damage/signs of deterioration?
Emergency procedures | Are staff able to readily access the Emergency Procedures?
Are staff able to readily access an up to date list of first aiders?
Are staff able to readily access an up to date list of fire wardens?
Are procedures in place to ensure an adequate number of first aiders and/or fire wardens are available on site?
Are first aid boxes easily accessible and appropriately stocked
Are emergency evacuation signs prominently displayed?
Work equipment | Are all electrical fixtures and fittings in good state of repair?
Are all items of premise related work equipment in safe working condition?
Is adequate storage provided to allow items to be stored safely?
Fire safety | Have the following been tested by a competent person within the preceding 3 months?
* Fire/evacuation lift (where applicable)? * Sprinkler systems (Where applicable)? * Fire warning system?
Water Systems | Have infrequently used shower heads and hoses been dismantled (including emergency showers and eye wash stations), cleaned and descaled in the preceding 3 months?
Have infrequently used sprinklers, hose reels and ornamental water features had the water drained and replenished within the last 3 months (ensure aerosol generation is minimised)?
Check operation of thermostat for emergency showers/eye wash stations which are infrequently used, to ensure water is not heated above 20 degrees centigrade
Risk assessments | Have all outstanding action points of relevant risk assessments been completed? i.e. fire, water, etc
Please specify are any additional items arising from relevant risk assessments and/or manufacturers recommendations to be checked
Visual inspection conducted by:
Date inspection conducted
Any comment or remedial action required (i.e. where a NO has been recorded) should be noted in the ACTION PLAN identifying whom has responsibility for completing the action and when the action should be completed by

## 6-monthly checks
Periodic workplace inspections Outstations only
Version 4.0
Premises
Premises Manager
See ACTION PLAN for person(s) responsible for arranging any remedial works identified
Any areas which are not relevant to the property being inspected may be removed/deleted |  | Q1/2 Apr-Sept | Q3/4 Oct-Mar
6-MONTHLY checks to be recorded and retained in the relevant PREMISES LOG BOOK |  | Yes/No | Yes/No
Escape lighting | Has the emergency lighting been tested within the last 6 months?
Lifting equipment (passenger lifts/hoists) | Has all lifting equipment used for persons had an examination within the last 6 months
Please specify are any additional items arising from relevant risk assessments and/or manufacturers recommendations to be checked
Visual inspection conducted by:
Date inspection conducted
Any comment or remedial action required (i.e. where a NO has been recorded) should be noted in the ACTION PLAN identifying whom has responsibility for completing the action and when the action should be completed by

## Annual checks
Periodic workplace inspections Outstations only
Version 4.0
Premises
Premises Manager
See ACTION PLAN for person(s) responsible for arranging any remedial works identified
Any areas which are not relevant to the property being inspected may be removed/deleted
Annual checks to be recorded and retained in the relevant PREMISES LOG BOOK |  | Yes/No
Asbestos Safety | Has the annual inspection been completed within the last 12 months?
Emergency procedures | Has an emergency evacuation been conducted in the preceding 12 months (including PEEPs)?
Fire safety | Have the fire extinguishers been formally serviced in the preceding 12 months?
Electrical safety | Has the procedure for controlling the introduction of electrical items on-site been complied with?
Is there an up-to-date inventory of electrical items?
Gas safety | Is a current gas safety certificate available and dated within the last 12 months?
Pressure System Safety | All pressure systems have been examined within the defined intervals as stated within the written scheme of examination
Please specify are any additional items arising from relevant risk assessments and/or manufacturers recommendations to be checked
Visual inspection conducted by:
Date inspection conducted
Any comment or remedial action required (i.e. where a NO has been recorded) should be noted in the ACTION PLAN identifying whom has responsibility for completing the action and when the action should be completed by

## ACTION PLAN
Periodic workplace inspections Outstations only
Version 4.0
Action points identified within periodic workplace inspections should be recorded into an Action Plan
Property
Property Manager
WPI | Section | Date | Action Required | Person responsible | Date for completion | Date completed
i.e. Weekly | Escape route | 2011-01-18 | Rear fire exit push bar requires repair | Joe Bloggs | 2013-01-25 | 2013-01-12
.